## BLANK BOQ
[Bidder's Letterhead]
[Date]
To: Tarlac State University
Re: [Invitation to Bid No.]
BILL OF QUANTITIES
Item No. | Work Description | Materials, supplies, etc. |  | Work Item |  | Direct Cost | Indirect Cost | Total Direct & Indirect Cost | Value Added Tax | Total Cost
[6 empty] | Materials, Labor, & Equipment | Overhead, Contingencies, Miscellaneous, & Profit
|  | Quantity | Unit | Quantity | Unit
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11)
1 | General Requirements
1.1 | Mobilization & Demobilization |  |  | 1 | lot
1.2 | Construction Occupational Safety & Health |  |  | 1 | lot
1.3 | Temporary Barricade and Billboard |  |  | 1 | lot
Sub-Total
2 | Demolition, Cleaning, Hauling, Disposal and Repair Works
2.1 | Demoliton/removal of existing partition walls, affected CHB walls, electrical wires, floor finishes, ceiling boards, door & jamb, window casement, scraping of old paint and all other affected areas, etc. |  |  | 1 | lot
2.2 | Hauling and disposal of debris and scrap materials from affected areas |  |  | 1 | lot
Sub-Total
3.1 | Structural Works, Lintel Beam for Doors & Windows |  |  | 1 | lot
4 | Architectural Works
4.1 | Masonry Works
4.1.1. | 4" CHB Wall (including tie wire, mortar and 10mm ∅ steel reinforcement every three layer of CHB layer and 0.60m vertical spacing) |  |  | 30.954 | m²
4.1.2. | Cement Plastering of Interior and Exterior: Walls, Lintel Beams, Window & Door Openings, etc. |  |  | 103.664 | m²
Sub-Total
4.2. | Ceiling Works, 9.0 mm thick Gypsum Board Ceiling on Framing System with complete accessories |  |  | 429.12 | m²
4.3 | Drywall & Wall Partition
4.3.1. | 9.0 mm thick Fiber Cement Board Drywall Partition on 50mm x 100mm x 1.5mm thk. G.I C-Purlins Framing System with complete accessories |  |  | 81.4 | m²
4.3.2. | 6.00 mm thick Fiber Cement Board Panel Board Cover with Gauge # 20 GI Pre-painted Louver on Metal Furring Framing System with complete accessories |  |  | 5.18 | m²
4.3.3. | Foldable Wall Partition made of 12 mm MDF board wood laminated finish with Acoustical Rubber Mat and Rockwool Infill on Aluminum Alloy Rail Track and Panel Trim with complete accessories |  |  | 1 | set
4.3.4. | Fabrication and Installation of Decorative Partition/Book Shelves made of 3/4" thick Marine Plywood with 1/2" x 3/4" wood edging and formica wood laminated Finish, Green Wall Partition made of 0.40 m x 0.60 m x 8 cm Artificial Mixed Foliage on Steel Framing System including painting works with complete accessories |  |  | 2 | set
Sub-Total
4.4. | Floor Finish, 0.20 m x 1.20 m x 8 mm thick Laminated HDF Board Flooring on 3 mm thick foam underlayment with 1" x 4" PVC baseboard(wood finish) |  |  | 333.3963 | m²
4.5 | Painting Works
4.5.1. | Off-White Semi-Gloss Latex Smooth Paint Finish on Walls, Column, and Drywall(surface preparation, primer and at least 2 top coats) |  |  | 641.1955 | m²
4.5.2. | Gray Semi-Gloss Latex Smooth Paint Finish on Walls and Columns, and Drywall(surface preparation, primer and at least 2 top coats) |  |  | 203.445 | m²
4.5.3. | Flat Latex Smooth Paint Finish on Ceiling (surface preparation and at least 2 top coats) |  |  | 377.2733 | m²
4.5.4. | Matte Black Smooth Paint Finish on Ceiling (application of skimcoat prior to apply of primer and at least 2 top coats) |  |  | 51.8468 | m²
Sub-Total
4.6 | Doors & Windows
4.6.1. | D1 - 12 mm thick Tempered Glass with Frosted Tint, Double Swing Glass Door on FD100 top & bottom frame with closer and heavy duty S304 Stainless H-Type Door Handle on white powder coated aluminum frame including Transom Window made of 6.00 mm thk. Clear Tempered Glass and complete accessories |  |  | 1 | set
4.6.2. | D2 - 0.50 mm thick Single Panel Swing Type Steel Door and Jamb with Transom Window and Peep window made of 6.00 mm thk. Clear Tempered Glass , 12 mm Ø plain bar grills, Stainless Steel Dome Type Door Knob with Dead Bolt Lock, Heavy Duty Hinges and complete accessories |  |  | 2 | set
4.6.3. | D3 - 6.00 mm thick Clear Tempered Glass with Frosted Tint on White powder coated aluminum frame sliding door and complete accessories |  |  | 2 | set
4.6.4. | D4 - Single Swing Tanguile Wooden Panel Door and Jamb (dark walnut wood stain finish) with Groove Design, Stainless Steel Dome Type Door Knob with Dead Bolt Lock, Heavy Duty Hinges and complete accessories |  |  | 2 | set
4.6.5. | W1- 6.0 mm thick one way reflective tempered bronze glass(interior) on White powder coated aluminum Fixed Window with Transom Window and complete accessories |  |  | 9 | set
4.6.6. | W2 - Steel Casement Window with 6.0 mm thick one way reflective bronze glass (exterior) with one ACU Hole and frame (Replace the window's existing steel casement frame, glass, heavy duty hinges, handle and complete accessories. |  |  | 10 | set
4.6.7. | W3 - Steel Casement Window with 6.0 mm thick one way reflective bronze glass (exterior) with two ACU Hole and frame (Replace the window's existing steel casement frame, glass, heavy duty hinges, handle and complete accessories. |  |  | 1 | set
4.7 | Furnishings
4.7.1. | Fabrication and Installation of Elevated "Platform A" made of 3/4 thick Marine Plywood on Metal Framing System with 0.15 m x 1.20 m x 5.0 mm thick Vinyl Floor Tiles and Artificial Turf Grass including adhesive and complete accessories |  |  | 1 | set
4.7.2. | Fabrication and Installation of Elevated "Platform B" made of 3/4 thick Marine Plywood on Metal Framing System with 0.15m x 1.20m x 5.0mm thk. Vinyl Floor Tiles and Artificial Turf Grass including adhesive and complete accessories |  |  | 1 | set
4.7.3. | 0.60 m x 2.4 m Signage on Aluminum Composite Panel with framing system (ACP Base) with 9" x 2" thick (TSU MAIN CAMPUS LIBRARY) Acrylic Build-up Lettering with LED back lights with complete accessories |  |  | 1 | set
Sub-Total
5 | Electrical Works
5.1 | Lighting Fixtures |  |  | 1 | lot
5.1.1. | 20 Watts Recessed COB LED Round Downlight [Color: Daylight] | 73 | set
5.1.2. | 12 Watts Recessed COB LED Premium Directional Round Downlight [Color: Daylight] | 143 | set
5.1.3. | 2 - 18 Watts T8 LED Tube Light with Primastic Louver & Recessed Housing [Color: Daylight] | 8 | set
5.1.4. | 3 Watts Recessed LED Emergency Light [Ceiling Mounted] | 16 | set
5.1.5. | 15 Meters Outdoor Neon LED Striplight with Driver [Color: Warm White] | 2 | set
5.1.6. | 12 Meters Outdoor Neon LED Striplight with Driver [Color: Warm White] | 1 | set
5.1.7. | 1 Gang Switch Wide Series with LED | 3 | set
5.1.8. | 2 Gang Switch Wide Series with LED | 2 | set
5.1.9. | 3 Gang Switch Wide Series with LED | 7 | set
5.1.10. | 1/2" Ø PVC | 53 | pc
5.1.11. | 1/2" Ø PVC Flexible Conduit (100 meters per roll) | 8 | roll
5.1.12. | 3.5 mm² Cu. THHN/THWN (STR) | 16 | box
5.1.13. | 2"x 4" PVC Utility Box | 15 | set
5.1.14. | 4" x 4" PVC Junction Box with Cover | 250 | set
5.1.15. | Consumables Hardwares | 1 | lot
Sub-Total
5.2 | Power System |  |  | 1 | lot
5.2.1. | Universal Duplex Convenience Outlet (Wall Mounted) | 27 | set
5.2.2. | Universal Duplex Convenience Outlet (Table Mounted) | 34 | set
5.2.3. | 1/2" Ø PVC | 73 | pc
5.2.4. | 3.5 mm² Cu. THHN/THWN (STR) | 6 | box
5.2.5. | 2"x 4" PVC Utility Box | 70 | set
5.2.6. | Consumables Hardwares | 1 | lot
5.3 | Air-conditioning System |  |  | 1 | lot
5.3.1. | Air-conditioner Outlet with Ground | 12 | set
5.3.2. | 10" Wall Mounted Exhaust Fan | 3 | set
5.3.3. | 1" Ø PVC | 36 | pc
5.3.4. | 5.5 mm² Cu. THHN/THWN (STR) | 4 | box
5.3.5. | 3.5 mm² Cu. THHN/THWN (STR) | 2 | box
5.3.6. | 2"x 4" PVC Utility Box | 12 | box
5.3.7. | 5" x 5" PVC Square Box with Cover | 15 | set
5.3.8. | Consumables Hardwares | 1 | lot
5.4 | Structured Cabling System |  |  | 1 | lot
5.4.1. | Blank Plate Cover | 14 | set
5.4.2. | 3/4" Ø PVC | 54 | pc
5.4.3. | 2"x 4" PVC Utility Box | 14 | set
5.4.4. | 5" x 5" PVC Square Box with Cover | 5 | set
5.4.5. | #16 GI Tie Wire | 4 | kg
5.4.6. | Consumables Hardwares | 1 | lot
5.5 | Closed-Circuit Television System |  |  | 1 | lot
5.5.1. | Blank Plate Cover | 12 | set
5.5.2. | 3/4" Ø PVC | 23 | set
5.5.3. | 1/2" Ø PVC Flexible Conduit | 30 | set
5.5.4. | 2"x 4" PVC Utility Box | 12 | set
5.5.5. | 4" x 4" PVC Junction Box with Cover | 12 | pc
5.5.6. | 5" x 5" PVC Square Box with Cover | 5 | box
5.5.7. | #16 GI Tie Wire | 3 | kg
5.5.8. | Consumables Hardwares | 1 | set
5.6 | Fire Alarm and Detection System |  |  | 1 | lot
5.6.1. | Blank Plate Cover | 8 | set
5.6.2. | Battery-Operated Smoke Detector | 8 | set
5.6.3. | 1/2" Ø PVC | 20 | pc
5.6.4. | 1/2" Ø PVC Flexible Conduit | 20 | m
5.6.5. | 2"x 4" PVC Utility Box | 8 | set
5.6.6. | 4" x 4" PVC Junction Box with Cover | 8 | set
5.6.7. | 5" x 5" PVC Square Box with Cover | 1 | set
5.6.8. | #16 GI Tie Wire | 3 | .
5.6.9. | Consumables Hardwares | 1 | lot
Sub-Total
| Total Bid Price | (State total amount of Bid in words) | [7 empty] | (Total amount in figres)
[Signature]
[Name of Authorized Signatory]
[Position/Title of Authorized Signatory]